## Slide 1: CONSTANd & QCQUAN
Dirk Valkenborg

## Slide 2: Isobaric labels
It is about multiplexing samples, saving instrument time, and having quantitative measurements that are affected by the same amount of variability.

## Slide 3: Isobaric labeling & systematic errors
Starting material = 10 µg protein extract (BCATM protein assay) used for labeling
Demultiplexing
Source: Adapted from www.piercenet.com
Design of Experiment
2D-LCMS

## Slide 5: Quantification channels

## Slide 6: Normalization
“A transformation of the data to remove any systematic non-biological variation and to balance them appropriately so that meaningful biological comparisons can be made”
Nat Genet. 2002;32 Suppl:496-501.
Microarray data normalization and transformation.
Quackenbush J.

## Slide 7: We need Statisticians and bioinformaticians to Handle this data flood!!

## Slide 8: A bottleneck arises!!!!!
A Web Tool for the Automated Assessment of Protein Expression and Data Quality of Labeled Mass Spectrometry Experiments

## Slide 9: Isobaric labeling and its effect on data
Natural batch effect because we multiplex 6 samples into one mass spectrometry analysis
Errors at several stages of the sample handling and sample mixing

## Slide 10: The CONSTANd method
Data-driven normalization
Three conditions have to be fulfilled (MA-scatter plot):
  the majority of proteins/peptides do not vary between samples.
  the number of up-regulated ≈ the number of down-regulated.
  the systematic bias is proportional over the intensity.
    Reference set = all identified peptides.
    No pull-downs!
    Assume shift is not from biology.
To avoid bias in the estimate of the central tendency in the data.
Trend has to be constant.

## Slide 11: Data representation
Reporter channels: j = 1 … n
Peptides:
i = 1 … m
sum = 1
BMC Genomics. 2005;6:145.
i-Tracker: for quantitative proteomics using iTRAQ.
Shadforth IP, Dunkley TP, Lilley KS, Bessant C.
 | ch1 | ch2 | ch3 | … | … | n
pep1 | a11 | a12 | a13 |  |  | a1n
pep2 | a21 | a22 | a23 |  |  | a2n
pep3 | a31 | a32 | a33 |  |  | a3n
pep4 | a41 | a42 | a43 |  |  | a4n
… |  |  |  |  |  | 
… |  |  |  |  |  | 
m | am1 | am2 | am3 |  |  | amn

## Slide 12: A different boxplot
percentage

## Slide 13: Constrained standardization (CONSTANd)
Reporter channels: j = 1 … n
Peptides:
i = 1 … m
 | ch1 | ch2 | ch3 | … | … | n
pep1 | a11 | a12 | a13 |  |  | a1n
pep2 | a21 | a22 | a23 |  |  | a2n
pep3 | a31 | a32 | a33 |  |  | a3n
pep4 | a41 | a42 | a43 |  |  | a4n
… |  |  |  |  |  | 
… |  |  |  |  |  | 
m | am1 | am2 | am3 |  |  | amn
∝ protein concentration 

## Slide 14: The mathematical formulation
 | ch1 | ch2 | ch3 | … | … | n
pep1 | a11 | a12 | a13 |  |  | a1n
pep2 | a21 | a22 | a23 |  |  | a2n
pep3 | a31 | a32 | a33 |  |  | a3n
pep4 | a41 | a42 | a43 |  |  | a4n
… |  |  |  |  |  | 
… |  |  |  |  |  | 
m | am1 | am2 | am3 |  |  | amn
Reporter channels: j = 1 … n
Peptides:
i = 1 … m

## Slide 15: Missing observations
Reporter channels: j = 1 … n
Peptides:
i = 1 … m
 | ch1 | ch2 | ch3 | … | … | n
pep1 | a11 | a12 | a13 |  |  | a1n
pep2 |  | a22 | a23 |  |  | a2n
pep3 | a31 | a32 | a33 |  |  | a3n
pep4 | a41 | a42 | a43 |  |  | a4n
… |  |  |  |  |  | 
… |  |  |  |  |  | 
m | am1 | am2 | am3 |  |  | amn

## Slide 16: An optimization problem
The problem is to find a ‘new’ matrix K that deviates least from the original data in A whilst subjected to equality constraints
Mean*(rowi)
Mean*(columnj)
*on the observed values
 | ch1 | ch2 | ch3 | … | … | n
pep1 | a11 | a12 | a13 |  |  | a1n
pep2 | a21 | a22 | a23 |  |  | a2n
pep3 | a31 | a32 | a33 |  |  | a3n
pep4 | a41 | a42 | a43 |  |  | a4n
… |  |  |  |  |  | 
… |  |  |  |  |  | 
m | am1 | am2 | am3 |  |  | amn

## Slide 17: The RAS procedure or Matrix Raking
RAS is a special case of the Iterative Proportional Fitting Procedure (IPFP) and originates from econometrics. Invented by Sir John Richard Nicholas Stone.
a11 | a12 | a13 |  |  | a1n
a21 | a22 | a23 |  |  | a2n
a31 | a32 | a33 |  |  | a3n
a41 | a42 | a43 |  |  | a4n
am1 | am2 | am3 | am4 | am5 | amn
R1
R2
R3
R4
…
…
Rm
S1 | S2 | S3 | … | … | Sn
S
R
K
Where and are diagonal matrices of S and R.
Cambridge University Press 1970.
Biproportional matrices and input-output change.
Bacharach, M.
Annals of Mathematical Statistics 1970; 41(3): 907–917.
An Iterative Procedure for Estimation in Contingency Tables.
Fienberg, S. E.
A linear transformation
m+n degrees of freedom

## Slide 18: The RAS algorithm
K = data (A)
while (not converged)
%calculate scale factor
R = 1./m .* 1./mean*row(K)
%balancing the rows
K = diag(R) * K
%calculate normalization factor
S = 1./m .* 1./mean*column(S)
%balancing the columns
K = K * diag(S)
end
*on the observed values

## Slide 19: Results
Isolation of tumor-associated macrophages  TAMs
Isolation of peritoneal macrophages (in-vivo control)  PMs
Stimulate bone marrow to produce macrophages (in-vitro control)  BMs
18 samples  digest  Labeling  2D-LC-MS/MS
Processing in PD2.0  Keep non-redundant peptides from Mascot/Sequest @ 5% FDR based on reversed TDA  4357 x 18 (971 x 18)
6 mice with orthotopic non-small cell lung adenocarcinomas
ID/label | TMT6-126 | TMT6-127 | TMT6-128 | TMT6-129 | TMT6-130 | TMT6-131
tmt1 | BM3 | PM3 | TAM4 | BM4 | TAM3 | PM4
tmt2 | PM5 | TAM6 | BM5 | TAM5 | PM6 | BM6
tmt3 | TAM1 | BM1 | PM1 | PM2 | BM2 | TAM2

## Slide 20: RESULTS
CONSTANd

## Slide 21: HEATMAP
Quantile normalisation

## Slide 22: HEATMAP
CONSTANd

## Slide 23: PCA-plots
Quantile normalisation
CONSTANd

## Slide 24: MA-plots
Quantile normalisation
Intra-experimental (BM3 vs BM4)
Inter-experimental (BM3 vs BM5)

## Slide 25: MA-plots
CONSTANd
Intra-experimental (BM3 vs BM4)
Inter-experimental (BM3 vs BM5)

## Slide 26: ConveniEnt downstream analysis
List of proteins confidently identified in the experiments
For each condition query the peptides that belong to the protein over the multiple experiments
Treat the peptide intensities as different observations and perform t-test or ANOVA
Use clustering to remove non-unique peptides or gather more from the unidentified tandem MS data.
Zhang et al. Cancer Sci, 101:2, 523–529,2010

## Slide 27: A word on convergence
Exponential or log-linear convergence
Converges asymptotically to the maximum likelihood estimator
Estimates presumably unbiased under missing-at-random assumption.
Convergence after 1 µsec

## Slide 28: Concluding remarks
Data normalization framed as a constrained optimization problem
Constraints originate from understanding about the experimental procedure.
Constraints are compatible with the RAS procedure and converges to a unique and exact solution.
Provides unbiased estimates under the missing-at-random model.
Intra-experimental normalization is valid for inter-experimental comparison because of the normalized percentage interpretation.
No need for reference labels – so optimal use of the isobaric tags in multiple experimental designs.

## Slide 29: QCQUAN relies on CONSTANd to facilitate a downstream analysis
doi: 10.1074/mcp.M115.056911
doi: 10.1016/j.euprot.2015.02.002
Moderated t-test + BH

## Slide 30: QCQuan
https://qcquan.net/

## Slide 31: QCQuan

## Slide 32
1) Proteome discoverer analysis
export as tsv-files
2) Upload to QCQuan
3) Inspect the results
report
iPathwayGuide
experimental design
no user params
results .tsv
doi: 10.1021/acs.jproteome.9b00072
QC & Quan made as simple as …

## Slide 33: USERS?
For those who want to do a fast, intermediate, and elementary statistical analysis for multi-run LC-MS experiments;
  Provides immediate feedback that can be used for data triaging and relegate low-quality experiments to the trash bin.
Editors who want to verify whether statistics are performed well.
  Often hard to understand what exactly is done.
  QCQuan is reproducible, and versioned, and you cannot tweak any user-defined parameters.
  Quality report associated with the data.

## Slide 34: A critical reflection
What do people mean when they talk about normalization?
  Equalize intensity box plots across the multiplexed samples
  Standardize the intensity distribution of a protein
  Transform the intensities such that the variance is stabilized or data looks more normally distributed.
CONSTANd

## Slide 35: Thanks for your attention!

## Slide 36: Questions?