## Slide 1
A Compositional Model to Predict the Aggregated Isotope Distribution for Average peptides using a compositional spline model

## Slide 2
POINTLESS4PEPTIDES
The observed isotope distribution is a valuable tool for pre-processing mass spectrometry data in shotgun proteomics experiments
Identification of a peptide  compare the obtained isotope pattern to the one that is theoretically expected based on its elemental composition.
Impossible when identity of the molecule under investigation is unknown.

## Slide 3
POINTLESS4PEPTIDES
A compositional data model to predict the isotope distribution for average peptides
The current generation of (high‐resolution) mass spectrometers have yielded increased sensitivity and improved detection limits.
 The isotope distribution of molecules can be measured with greater sensitivity, resolution and mass accuracy
 More comprehensive protein databases, refined elemental isotope definitions, and enhancements in algorithmic and statistical methods

## Slide 4
POINTLESS4PEPTIDES
METHOD
Construct models for the prediction of the aggregated isotope distribution and centroid mass for an average peptide when a particular (monoisotopic) mass is available.
THEORETICAL
DATASET
AGGREGATED ISOTOPE
DISTRIBUTION
COMPOSITIONAL
DATA TRANSFORMATION
SPLINE REGRESSION
MODELLING
GOODNESS-OF-FIT
SULPHUR
PREDICTION

## Slide 5
METHOD
Theoretical dataset of peptides
 UNIPROT database of Human reviewed proteins
 In-silico digested using Trypsin
 Restricted to peptides with Sulphur atoms
 Redundant amino acid sequences and non-unique elemental compositions removed
POINTLESS4PEPTIDES
THEORETICAL
DATASET
284,947 peptides with a mass range from 350.126 Da to 4999.689 Da
Notes: It should be noted that the choice to only include peptides up to five sulphur atoms is arbitrary. However, by doing so, we cover 99.5% of the unique atomic compositions.

## Slide 6
THEORETICAL DATA
POINTLESS4PEPTIDES
Distribution of peptides across different Sulphur categories
Most prevalent mass range: 1500 Da -2500 Da
Unbalanced distribution
0S - 118,256
1S - 92,359
2S - 48,271
3S - 18,051
4S - 5,919
5S - 2,091
Notes: since longer DNA molecules are depleted from the dataset.

## Slide 7
METHOD
For each peptide: Computed using BRAIN1 First 6 aggregated isotope peaks
POINTLESS4PEPTIDES
AGGREGATED ISOTOPE
DISTRIBUTION
1Dittwald, P., Claesen, J., Burzykowski, T., Valkenborg, D., & Gambin, A. (2013). BRAIN: A Universal Tool for High-Throughput Calculations
of the Isotopic Distribution for Mass Spectrometry. Analytical Chemistry, 85(4), 1991-1994. doi: 10.1021/ac303439m

## Slide 8
AGGREGATED ISOTOPE DISTRIBUTION
POINTLESS4PEPTIDES

## Slide 9
POINTLESS4DNA
METHOD
The theoretical isotope distribution is based on a multinomial expansion  Compositional data (sum to one)
The number of isotopes and the distribution of the probabilities vary in function of the mass.  Introduce sink-hole that contracts the leftover probabilities into one isotope variant, called the closure term (pseudo-isotope)  100% of the isotope information is captured by the first 20 isotopic variants and the additional closure component.
POINTLESS4PEPTIDES
COMPOSITIONAL
DATA TRANSFORMATION
The theoretical isotope distribution is based on sampling from a multinomial distribution  Compositional data (sum to one)
The number of isotopes and the distribution of the probabilities vary in function of the mass  Sink-hole that contracts the leftover probabilities into one isotope variant  Closure term (pseudo-isotope)
Assumption: 100% of the isotope information is captured by the first 6 isotopic variants and the additional closure component

## Slide 10
CLOSURE TERM
POINTLESS4PEPTIDES

## Slide 11
COMPOSITIONAL DATA
POINTLESS4PEPTIDES

## Slide 12
COMPOSITIONAL DATA
POINTLESS4PEPTIDES

## Slide 13
POINTLESS4DNA
METHOD
The theoretical isotope distribution is based on a multinomial expansion  Compositional data (sum to one)
The number of isotopes and the distribution of the probabilities vary in function of the mass.  Introduce sink-hole that contracts the leftover probabilities into one isotope variant, called the closure term (pseudo-isotope)  100% of the isotope information is captured by the first 20 isotopic variants and the additional closure component.
POINTLESS4PEPTIDES
COMPOSITIONAL
DATA TRANSFORMATION
Isotope probabilities, are nonnegative and constrained to sum to one
A regression modelling approach requires the data to be real-valued
Aitchison: compositional data represented on a high-dimensional simplex
Additive log-ratio transformation
Monoisotopic peak () as reference component
In general, for peptides, always observed
Choice of reference component does not influence the results or the interpretation

## Slide 14
COMPOSITIONAL DATA TRANSFORMATION
POINTLESS4PEPTIDES

## Slide 15
METHOD
POINTLESS4PEPTIDES
PENALIZED SPLINE REGRESSION
 Model the relationship between the monoisotopic mass of a peptide and its corresponding isotopic envelope (containing the first 6 isotopic variants and pseudo-isotope), transformed into ALR space.
 Order of the spline and the estimation of the smoothing parameters are automatically determined using generalized cross validation
SPLINE REGRESSION
MODELLING

## Slide 16
METHOD
POINTLESS4PEPTIDES
IMPACT OF SULPHUR ATOMS ON PATTERN OF ISOTOPE DISTRIBUTION
 Six distinct models for each Sulphur category
 Model each ALR univariately
SPLINE REGRESSION
MODELLING
6 X 6 = 36 models

## Slide 17
SPLINE MODELLING
POINTLESS4PEPTIDES

## Slide 18
METHOD
POINTLESS4PEPTIDES
To obtain the isotopic probabilities, ALR ratios need to be back-transformed to the original simplex space
 Modified softmax transformation
SPLINE REGRESSION
MODELLING

## Slide 19
POINTLESS4PEPTIDES
THEORETICAL DATASET
ISOTOPE MODELLING
ALR
MODIFIED SOFTMAX
METHOD OVERVIEW

## Slide 20
Beside the probabilities, the model also provides a prediction for the centroid mass of the aggregated isotope variants
The average value of the mass differences between the isotope variant and the monoisotopic variant
For each Sulphur category separately
Compute centroid masses of the predicted isotope probabilities by simple addition to the observed mass of the monoisotopic variant
POINTLESS4PEPTIDES
 | Isotope 1 | Isotope 2 | Isotope 3 | Isotope 4 | Isotope 5 | Isotope 6
0 S atoms | 0 | 1.002891678 | 2.005596818 | 3.008229827 | 4.010806086 | 5.013344473
1 S atom | 0 | 1.00286816 | 2.004629099 | 3.00639507 | 4.008163627 | 5.009999388
2 S atoms | 0 | 1.002843655 | 2.004123027 | 3.00558085 | 4.006825931 | 5.00814229
3 S atoms | 0 | 1.00283248 | 2.004039656 | 3.005395842 | 4.006442102 | 5.007544965
4 S atoms | 0 | 1.002829018 | 2.004165477 | 3.005488558 | 4.006517479 | 5.007537239
5 S atoms | 0 | 1.0028162 | 2.004183866 | 3.005451329 | 4.006430802 | 5.007365125

## Slide 21
METHOD
POINTLESS4PEPTIDES
GOODNESS-OF-FIT
Metrics that are applicable on an only partially observed isotope cluster
Goodness-of-fit in ALR space
Goodness-of-fit in probability space
with
with
Notes: are the predicted ALR ratios using the spline model
(𝑧_1,…,𝑧_(𝑙−1)) are the predicted ALR ratios using the spline model

## Slide 22
METHOD
POINTLESS4PEPTIDES
SULPHUR
PREDICTION
Separate models for the isotope distribution for peptides containing zero up to five sulphur atoms
 Which model to use?
Possibility 1: Based on minimal error
Notes: , using the squared residuals of the ordinary least squares model as weights

## Slide 23
METHOD
POINTLESS4PEPTIDES
SULPHUR
PREDICTION
Separate models for the isotope distribution for peptides containing zero up to five sulphur atoms
 Which model to use?
Possibility 2: Based on Bayes theorem
Notes: , using the squared residuals of the ordinary least squares model as weights

## Slide 24
Sulphur Prediction: Bayes Theorem
The likelihood , i.e. the probability that we observe this isotope distribution given that we assume the peptide contains sulphur atoms (based on model)
The prior , i.e. the probability of observing a peptide that contains sulphur atoms
Normalizing factor , calculated by
The posterior probability
POINTLESS4PEPTIDES
CORRECT MODEL = MODEL WITH MAXIMAL POSTERIOR PROBABILITY

## Slide 25
Sulphur Prediction prior probability
The mean number of Sulphur atoms as a function of the monoisotopic mass. The red line shows the result of a penalized spline regression model that uses the monoisotopic mass as input to predict lambda
The probability of observing n Sulphur atoms in relation to the monoisotopic mass. The red lines show the fit of the negative binomial distribution using lambda from (A)
POINTLESS4PEPTIDES

## Slide 26
SOFTWARE
POINTLESS4PEPTIDES

## Slide 28
POINTLESS4Peptides
VALIDATION (on UPS2-standard)
Experimental data vs theoretical data
Experimental data vs model predictions

## Slide 29
POINTLESS4Peptides
VALIDATION (on UPS2-standard)
Plots illustrating the observed isotope distribution and the predicted isotope distribution using our penalized spline regression approach
Left: best peptide “ILNNGHAFNVEFDDSQDK”
Right: worst peptide “AFTECCVVASQLR

## Slide 30
POINTLESS4Peptides
Sulphur Prediction Experimental validation (minimal MSE)

## Slide 31
POINTLESS4Peptides
Sulphur Prediction Experimental validation (minimal CHI2)

## Slide 32
POINTLESS4Peptides
Sulphur Prediction Experimental validation (Bayes)